****

**A.I.M.**

**User Guide**

Image Analysis

# [j0305493](#_SOMMAIRE)Preface

***AIM* facilitates** the processing of images, using third-party software (ImageJ).

***AIM* enables** you to: establish a framework for your studies (date, client, species, device);

carry out processing operations and obtain results (in one click);

archive the following in a database:

your series of images;

your processing operations (ImageJ macros);

your results files;

your individual measurements;

your clustered measurements (grouped by variety, image, etc.).

calculate new measurements (for example: convert pixels to

millimeters);

cluster results (by variety, image, series) and to present them (filtered,

in table format, in the form of a graph, for export into Excel,…).

***AIM* simplifies** processing operations for users by encapsulating them (automatic execution, one click) through the integration of history functions (traceability), rights management (user or super user), color management (UPOV, RHS, …..) and by displaying results in the form of a graph (curve, histogram).

***AIM* facilitates** multi-user, multi-workstation usage of the same project (study), as well as the sharing of processing operations (ImageJ macros) or results between partners (bodies, companies,).

The field of imaging is becoming an increasingly integral part of our studies and professional projects on a daily basis. The tools available on the market are frequently expensive and too specialized.

AIM will facilitate the processing of images, performed using ImageJ software, while offering significant flexibility with regard to the subjects studied (plant, medical, spatial, industrial,…).

Some examples of image processing performed using series of GEVES images:

*- Surface measurements, height and width of grains.*

*(back-lit table, corn, 2009)*

*- Surface spread of fungus on leaves.*

*(scanner, wheat, 2010)*

*- Surface measurements, height and width of leaves.*

*(scanner, rape seed cotyledons, 2010)*

*- Surface measurements, height and width of flower petals.*

*(scanner, flax, 2010)*

*- Ground coverage of plants.*

*(camera in field, peas, 2011)*

*- Kinetics of seed imbibition and germination.*

*(Jacobsen table, multiple species, 2011)*

*- Surface and perimeter measurements to define the thickness of leaves.*

*(scanner, carrot tops, 2011)*

*- Quantification, labeling of colors on leaves and flowers.*

*(back-lit table, peas and orchids, 2012)*

# [j0305493](#_SOMMAIRE)CONTENTS

[Preface 2](#_Toc379988537)

[CONTENTS 3](#_Toc379988538)

[1 – Software installation (GEVES) 6](#_Toc379988539)

[1.1 – Initial installation 6](#_Toc379988540)

[1.2 – Automatic updates (GEVES) 7](#_Toc379988541)

[2 – Connection to AIM (GEVES) 8](#_Toc379988542)

[3 – General overview 9](#_Toc379988543)

[3.1 – Main menu 9](#_Toc379988544)

[3.1.1 – Title bar 9](#_Toc379988545)

[3.1.2 – Toolbar 9](#_Toc379988546)

[3.1.3 – Status bar 10](#_Toc379988547)

[3.1.4 – Menu bar 10](#_Toc379988548)

[3.2 – Functions available in different windows 11](#_Toc379988549)

[3.2.1 – Exporting a table 11](#_Toc379988550)

[3.2.2 – Sorting and searching 11](#_Toc379988551)

[3.2.3 – Layout of columns in a table 12](#_Toc379988552)

[3.2.4 – Managing windows and tables 12](#_Toc379988553)

[3.2.5 – List of values 13](#_Toc379988554)

[4 – “File” Menu 14](#_Toc379988555)

[4.1 – Send a message 14](#_Toc379988556)

[4.2 – Application (GEVES) 15](#_Toc379988557)

[4.3 – Switch database (GEVES) 16](#_Toc379988558)

[4.4 – Change password (GEVES) 16](#_Toc379988559)

[4.5 – Screen shots 16](#_Toc379988560)

[4.6 – Quit 16](#_Toc379988561)

[5 – “Referential” Menu 17](#_Toc379988562)

[5.1 – List of values 17](#_Toc379988563)

[5.1.1 – Condition 18](#_Toc379988564)

[5.1.2 – Result variables 18](#_Toc379988565)

[5.1.3 – Type - Image, Object, Study and File 20](#_Toc379988566)

[5.1.4 – Statistical parameters 21](#_Toc379988567)

[5.2 – Experimental condition 21](#_Toc379988568)

[5.2.1 – Consult 22](#_Toc379988569)

[5.2.2 – Create / Modify 22](#_Toc379988570)

[5.2.3 – Delete 24](#_Toc379988571)

[5.3 – Medium and Source 25](#_Toc379988572)

[5.3.1 – Consult 25](#_Toc379988573)

[5.3.2 – Create / Modify 25](#_Toc379988574)

[5.3.3 – Delete 26](#_Toc379988575)

[5.4 – Zone layout 27](#_Toc379988576)

[5.4.1 – Consultation 27](#_Toc379988577)

[5.4.2 – The concept of ZONES 27](#_Toc379988578)

[5.4.3 – Create / Modify 28](#_Toc379988579)

[5.4.4 – Delete 29](#_Toc379988580)

[5.4.5 – Example 30](#_Toc379988581)

[5.5 – List of Colors 31](#_Toc379988582)

[5.5.1 – Consultation 31](#_Toc379988583)

[5.5.2 – Color Functions 31](#_Toc379988584)

[5.5.3 – Coloring the rows (RGB, HSL) 32](#_Toc379988585)

[5.5.4 – Color Group Labels 33](#_Toc379988586)

[5.6 – Species – Individual - Company (Non GEVES) 34](#_Toc379988587)

[5.6.1 – Consultation 34](#_Toc379988588)

[5.6.2 – Create / Modify 34](#_Toc379988589)

[5.6.3 – Delete 34](#_Toc379988590)

[6 – “Processing Software” Menu 35](#_Toc379988591)

[6.1 – Open 35](#_Toc379988592)

[6.2 – Application path 35](#_Toc379988593)

[6.3 – Define 35](#_Toc379988594)

[6.4 – Default 35](#_Toc379988595)

[6.5 – Download 35](#_Toc379988596)

[6.6 – Online support 35](#_Toc379988597)

[6.7 – Close automatically 36](#_Toc379988598)

[7 – “Quick processing” Menu 37](#_Toc379988599)

[7.1 – Quick processing 37](#_Toc379988600)

[7.1.1 – How to use this feature 37](#_Toc379988601)

[7.1.2 – Study 38](#_Toc379988602)

[7.1.3 – Images 38](#_Toc379988603)

[7.1.4 – Macros 39](#_Toc379988604)

[7.1.5 – Analysis 40](#_Toc379988605)

[8 – “Macro” Menu 41](#_Toc379988606)

[8.1 – Management of “Macros” 41](#_Toc379988607)

[8.1.1 – Consulting a macro 42](#_Toc379988608)

[8.1.2 – Create / Modify a macro 42](#_Toc379988609)

[8.1.3 – Deletion 45](#_Toc379988610)

[8.1.4 – Import / Export 45](#_Toc379988611)

[9 “Study” Menu 47](#_Toc379988612)

[9.1 – Study declaration 47](#_Toc379988613)

[9.1.1 – Consultation 48](#_Toc379988614)

[9.1.2 – Create/ Modify 48](#_Toc379988615)

[9.1.3 – Deletion 49](#_Toc379988616)

[9.1.4 – Materials 50](#_Toc379988617)

[9.1.5 – Acquisition 51](#_Toc379988618)

[9.1.6 – Macro 53](#_Toc379988619)

[9.2 – Analysis 54](#_Toc379988620)

[9.2.1 – How to use this feature 54](#_Toc379988621)

[9.2.2 – Macros 55](#_Toc379988622)

[9.2.3 – Images 56](#_Toc379988623)

[9.2.3.a – How to use this feature 56](#_Toc379988624)

[9.2.3.b – Loading images 57](#_Toc379988625)

[9.2.4 – Files 58](#_Toc379988626)

[9.2.5 – Analyses 59](#_Toc379988627)

[9.3 – Integration 60](#_Toc379988628)

[9.3.1 – Processing history and results files 60](#_Toc379988629)

[9.3.2 – Display 61](#_Toc379988630)

[9.3.3 – Options 62](#_Toc379988631)

[9.3.4 – Integrate 64](#_Toc379988632)

[9.4 – Calculations 65](#_Toc379988633)

[9.4.1 – How to use this feature 65](#_Toc379988634)

[9.5 – Results 68](#_Toc379988635)

[9.5.1 – Display 68](#_Toc379988636)

[9.5.2 – Type of result 69](#_Toc379988637)

[9.5.3 –Clustering 69](#_Toc379988638)

[9.5.4 – Deletion 73](#_Toc379988639)

[9.5.5 – Graph 73](#_Toc379988640)

[10 – “Windows” Menu 76](#_Toc379988641)

[10.1 – How to use this feature 76](#_Toc379988642)

[11 – “Help” Menu 77](#_Toc379988643)

[11.1 – How to use this feature 77](#_Toc379988644)

[12 – Frequently-asked questions 79](#_Toc379988645)

# [j0305493](#_SOMMAIRE)1 – Software installation (GEVES)


## 1.1 – Initial installation

Depending on the site you are using (for example, the Magneraud site), double click on the file INSTALL.EXE file in the directory [Z:\Windev\AIM](file:///Z:\Windev\AIM), then follow the installation assistant’s prompts, clicking on ***Next*** at each stage.






1. Click ***Yes.*** The installation assistant will then display a summary of the installation process:




1. A message will indicate the end of the installation process, as well as prompting you to create icons and launch the program:



1. Click on ***Finish***.


## [j0305493](#_SOMMAIRE)1.2 – Automatic updates (GEVES)

Once the AIM application has been networked, updates will be installed automatically. As soon as a new version is available, an automatic update prompt will appear when the application is launched.



# [j0305493](#_SOMMAIRE)2 – Connection to AIM (GEVES)

The password used to connect to the database is the same as that used for all Oracle databases:





Surname + Initial of first name

Database

***Note***: if you do not have an Oracle account, contact our database administrator (DBA) [christophe.chevalier@geves.fr](mailto:christophe.chevalier@geves.fr)

When you first connect to the database, an information window will pop up and ask you to find your name in the address database:





If your name appears in the window, select it and click on OK.

Should your name not appear, search for it by clicking on “Full list individuals”.

If your name does not exist in the address database, create a profile by going to Start\Programs\Adr\Adr

# [j0305493](#_SOMMAIRE)3 – General overview

## 3.1 – Main menu

### 3.1.1 – Title bar

 The title bar indicates the name of the software package and the active menu in square brackets.

### 3.1.2 – Toolbar

The toolbar which appears in the start window remains available in all the main windows of the software package, although certain buttons may sometimes be inactive, in which case no action is possible, and they may be greyed out. The following functions are available:

|  |  |  |
| --- | --- | --- |
| icone0 | Quit , Close | F2 |
| icone2 | Go to first entry | F3 |
| icone3 | Go to previous entry | F4 |
| icone4 | Go to next entry | F5 |
| icone5 | Go to last entry | F6 |
|  | Search for entry using selection criteria | F7 |
|  | Delete selection criteria | Ctrl + R |
|  | Manage selection criteria | Ctrl + G |
| icone6 | Refresh | F8 |
| icone7 | Add entry | F10 |
|  | Modify entry | F11 |
| icone8 | Delete entry | F12 |
| icone9 | Print current | Ctrl + P |
|  | Import | Ctrl + I |
|  | Export | Ctrl + E |
| Sans%20titre-1%20copier | Copy entry | Ctrl + D |
|  | Select / Unselect All | Ctrl + M |
|  | List of data values | F9 |
|  | Help | F1 |

### 3.1.3 – Status bar

The status bar indicates the path of the database, in line with the application, the current (connected) user and the current field. The date and time also appear on the right.



### 3.1.4 – Menu bar

The menu bar and sub-menus enable you to access the various windows of the software package by left-clicking. However, you can use the keyboard by holding down the Alt key and pressing on the appropriate (underlined) letter at the same time.



***Comment***: Additional information on this menu bar is available further on in this Guide.


## [j0305493](#_SOMMAIRE)3.2 – Functions available in different windows

### 


### 3.2.1 – Exporting a table

The icon can be found in the top right-hand corner of all tables. This icon provides you with the following options:

* You can export the information contained in the window into various formats: Excel, Word,



* You can select columns to display or hide (or this can be done directly by right-clicking on a column heading)



### 3.2.2 – Sorting and searching


It is possible to sort columns by clicking on the column heading. 

The symbol ఴŴ indicates that the column is sortable.

The symbol  indicates that the column is sortable and currently sorted (in Ascending order).


The symbol  indicates that the column is sortable and currently sorted (in Descending order).

The symbol ఴŴ indicates that a value search can be performed in the column.

Left click on the magnifying glass and fill in the value.

Or right-click to open the menu;

Search and Filter.



### 3.2.3 – Layout of columns in a table

If the column layout is not suitable, it is possible to move the columns simply by using drag-and-drop.

All column widths can be adjusted to suit the user. In order to do this, position the mouse cursor on the column dividers and move them to the right or the left, while holding the left mouse button down.

When browsing the left-hand part of the title of a column, a padlock will appear. You can set the columns to the left of the padlock by clicking. This means that, when you move the horizontal bar, the left-hand columns will not move anymore.

### – Managing windows and tables

The windows have “splits” (horizontal or vertical split bars) which allow you to modify the size of tables and other items.

೪Ɯ


Place the cursor over the split (the cursor changes to a double arrow), hold down (left click) and move the cursor.

In certain windows in AIM, you will find search criteria in the upper left-hand corner of the tables. Select fields to filter the list.



You can use % as a search criterion and the  ż button allows you to delete these criteria.


### – List of values



Certain entry fields allow you to call up a list of values. Simply place the cursor over the entry field and press the [F9] key. A window will open and you must select a value and validate. The information will be added to the entry fields.

Filter the request:

Enter a letter, for example “m”

Press [F9]

Select “Mint” and click on [Ok]


The information and the relevant code are added to the species field.

***Note***: The symbol “%” can also be used and is compatible with previous versions of GEVES applications (GAD, DHS, VAT, GED, GEV,…).

***Caution***: If the criteria you enter are too narrow, the list of values will remain empty, for example if the code begins with “9”




# [j0305493](#_SOMMAIRE)4 – “File” Menu

****

## 4.1 – Send a message


In order to render the application more interactive, AIM provides you with the possibility of managing a messaging system. To access this system, click on ***Send a message*** in the ***File*** menu.

When you first launch the application, click on the  button.



List of accounts: the main account is selected by default

Click on the tabs to show ***New messages*** or ***Sent messages***



Click here to indicate the path of the file attached to the message

**Functions of the different buttons**:

⮞ Enables you to delete, modify or create a new account (see point 3.1)

⮞ Enables you to update data following any modifications or additions.

⮞ Enables you to send a message.

⮞ Enables you to create a new message.

⮞ Enables you to edit an existing message.


⮞  Enables you to delete a message.

⮞ Enables you to print a message.

⮞ Enables you to exit the messaging system.


## [j0305493](#_SOMMAIRE)4.2 – Application (GEVES)

GEVES applications can be accessed directly through AIM without users having to re-enter their identification details, thanks to the option “Use the same log-in”. If the required application is not on your computer, it will be installed automatically.




## [j0305493](#_SOMMAIRE)4.3 – Switch database (GEVES)

This submenu enables you to connect directly to another database, without closing the application.




The prompt window displays a list of all available servers. Those ending in “Adre” concern data from production sites and those ending in “Copi” allow you to work on a copy of the database of one of the sites. The copies are loaded from production data from a site following a simple request.

## 4.4 – Change password (GEVES)

It is possibly to change passwords directly in AIM.

Enter the new password and click on the “Ok” button in order for the password to apply to all GEVES applications on all sites.

## 4.5 – Screen shots

As the name suggests, when you click on “screen shot”, an image (.jpg) is saved on your computer.


This image corresponds to what is displayed within the software package on the screen.

Then a window opens, informing you of the location of the file image which has been generated and asking you if you wish to view the image.

## 4.6 – Quit


This keeps your various settings for a future session and closes the AIM software package.


# [j0305493](#_SOMMAIRE)5 – “Referential” Menu



## 5.1 – List of values

This window allows you to manage information in the secondary tables, contained in the main windows. There are three tabs available that enable you manage the different values for TYPES and VARIABLES for the AIM application.






For each table:

you can type the information directly into the final row, or click on the  button.

To modify information, double click on a row to enter data.

To delete information, select a row and use the  button or the shortcut key [F12] and then confirm the deletion process.

5.1.1 – Condition

“Conditions” describes the framework within which you have acquired your series of images. Conditions enable you to keep a specific numerical value for each study acquisition.

The most common example is keeping the “magnification” ratio, in order to ensure traceability and/or to use it during the image-processing phase, or the calculation phase, to transpose measurements in pixels into millimeters.


The table AIM200\_VAR\_CONDITION contains a (unique) code and a label.

***Reminder***: The rows highlighted in red indicate that the registered entry is already being used in a study and can no longer be deleted or modified.

5.1.2 – Result variables

Result variables have two uses:


* extracting measurements (columns) from results files, predefining them by their labels;
* calculating new result variables using a formula applied to a results table (similar to the way in which spreadsheets (Excel) work).



Use the  buttons to manage the variables.

On the bottom left, there is an overview of the formula for the selected row.

On the bottom right, there is a reminder of the nomenclature that may be used in the formulas.

The following elements are required in order to create a new variable:

a unique number;


a value for the ‘display order” (presentation of results);

a label;

the unit in which the variable expressed;


the variable type;

the heading of the column or formula.



If the variable is intended to contain measurements **extracted from** results files, the column heading must be specific.

For example, to retrieve surface area measurements, use the heading:

“Area”

If the variable is intended to contain measurements **calculated** on the basis of a formula, its wording needs to be edited.

For example, in order to transpose surface measurements, from pixels to millimetres², the formula is



 and  must be added on either side of the formula, in order to apply the calculation to all the rows to be displayed.


You must replace:

pixel surface area with {1} which is the unique number of the variable

magnification with [MAGN] which is the unique code for the condition

squared with power (…, 2) which is a Windev function

Comments can also be inserted, by starting the row with a double slash.




Another example involves a formula which allows you to calculate the volume of an ovoid shape.

With the same surface variable {1},

magnification [MAGN]

and the following Windev functions: “root”, “power” and “pi”.

to learn about all Windev functions

to refer to: another result variable;

a condition;


a column contained in the calculations table \*;

a column which will contain the result of the


formula;

the name of the calculations table.


\* See the Calculation window (§ 9.4) for the list of columns present (row, image\_name, …)




5.1.3 – Type - Image, Object, Study and File




This feature enables you to describe the images and their various states (color, black and white,…). The column entitled “number of days archived” enables you to define the time period during which an image will be stored before you are prompted to delete it.



This feature enables you to describe the objects being studied (type of material used).



This feature enables you to describe studies, for example, by function type (taking measurements, counting, examples, …) or by user type (seed sector, plant varieties sector, pests sector,…).




This feature enables you to describe the results of image processing operations.

Essentially, the processing operations produce a results file which is integrated into the database (FRA type), but they can also generate other types of files, which are not destined to be integrated (for example, a report file) (FRI type).

There are also processes that do not generate any results files, such as processes which modify the color of images.

The column relating to the number of days archived enables you to specify the length of time for which a processing result will be archived you are prompted to delete it.

5.1.4 – Statistical parameters



This feature enables you to define a number of statistical parameters, by specifying the SQL syntax required in order to cluster the results generated by AIM.

***Note***: SQL syntax must be compatible with ORACLE for AIM use within GEVES and with HYPERFILESQL for EXTERNAL use.


***Example***: STD, MAX, MIN, COUNT, AVG, MEDIAN, SUM, VARIANCE, …

## [j0305493](#_SOMMAIRE)5.2 – Experimental condition

You must define the experimental conditions for each new AIM study. This enables you to provide additional information during the automatized processing of data or calculations.

In general, these conditions are identical within the same study type. That is why experimental conditions are listed by type.

This window enables you to consult and manage conditions (add-modify-delete).




5.2.1 – Consult

When the window opens, the list is displayed according to the criteria entered in the search bar. You should use the “empty” study type to display everything. Once you have selected a list, the details will appear in the second table.


.

5.2.2 – Create / Modify

To open the window to create a list of experimental conditions, use the shortcut key [F10], or click on thebutton.



Likewise, to modify the experimental conditions, select a list and use the shortcut key [F11], or click on the  button.




Insert the type of study, the title and species. Click on the ‘OK’ button to validate.


***Note***: the species is optional, but if it is stipulated by the user, then this list of experimental conditions will only apply to that species.

Once the list has been created, you must add/remove conditions.

In the details table, click on the  button, or on  to select new conditions (multiple conditions may be selected).




***Caution***: when conditions are added, they do not, by default, contain any values or comments. It is up to you to provide that additional information by entering it directly into the details table.



To remove conditions, select them and use the shortcut key [F12], or click on the  button and confirm the deletion.

5.2.3 – Delete

In order to delete a list of experimental conditions, you must first of all clear the conditions contained therein.




You must select all the conditions, and then confirm the deletion.

Then you can select the conditions list to be deleted by clicking on the  button, or using the shortcut key [F12] and then confirming the deletion.

## [j0305493](#_SOMMAIRE)5.3 – Medium and Source


This window allows you to manage the medium and source for the images used in AIM. You must select the medium/source for each acquisition.



5.3.1 – Consult


Select the source (in the main table) to see the various media linked to it (in the detail table).

5.3.2 – Create / Modify



**SOURCE**

To open the window to create a new source, use the shortcut key [F10], or click on on the  button.

Likewise, to modify a source, select a row and use the shortcut key [F11], or click on the  button.

Insert the name, location, a comment and the number of media you wish to define concerning this source. Confirm by clicking on the OK button.


***Caution***: When modifying the number of media, if you insert a lower number, the last media defined will be automatically deleted.

(See § 5.3.3.)


**MEDIUM**

Then you must indicate the media created automatically at the same time as the “source” (number of media).

In order to modify the media, use the shortcut key [F11] or click on the  button, or double-click on the row. A window will open allowing you to change the name, validity, date, resolution and comment.




5.3.3 – Delete



To delete a source (and all corresponding media), select the source and click on the  button, or use the shortcut key [F12], and then confirm the deletion.

## [j0305493](#_SOMMAIRE)5.4 – Zone layout

This window allows you to manage the zone layout used in AIM.



5.4.1 – Consultation

Select a zone layout in the main table to see the description of the different zones in the details table.




5.4.2 – The concept of ZONES

In image processing, depending on the type of measurements used and the form of the objects being studied, users have a wide range of layout options at their disposal.

The object can be displayed alone or in batches of hundreds of objects. Objects may originate from the same population, or from various populations (population, group, batch, material, variety, replication).


Each group has **one** defined space in the image series: **one** zone.

In ***AIM***, you can manage several zones:



1 zone 2 zones 4 zones 16 zones


Each zone represents one type of material and may contain one or more objects.



1 zone layout with 10 objects per zone 4 zone layout with 1 object per zone


This image layout, which arranges the objects by type of material and number of zones, is called the ***zone layout***, and you must to enter it in AIM when declaring studies. (See example § 5.4.4.)

5.4.3 – Create / Modify



**LAYOUT**

To open the window to create a zone layout, use the shortcut key [F10] or click on the  button.





Likewise, to make modifications, select a row and use the shortcut key [F11], or click on the  button, or simply double-click.

You should insert the name and number of zones you wish to define for the layout. It is also possible to add a description of the layout. Confirm the selection by clicking on the ‘OK’ button.

In order to add more specific information, also insert the number of zones per row and per column. These values will be used to integrate the results (indexing – see § 9.3.3.).

For example, for a layout with 4 zones, AIM distinguishes between 2 by 2 (squared), 4 by 1 (in a row) and 1 by 4 (in a column).






***Caution*** : When modifying the number of zones, if you indicate a lower number, the last zones defined will be automatically deleted. (See § 5.4.4.)

**ZONE**


Then you must fill in the zones that are created automatically at the same time as the “layout” (number of zones).

To modify those zones, use the shortcut key [F11] or click on the  button, or double-click on the row (TITLE column). Perform the modification and exit the row.



5.4.4 – Delete

To delete a layout (and the zone details), select it and click on the  button, or use the shortcut key [F12], and then confirm the deletion.





5.4.5 – Example



A study is being carried out on the color of leaves from a dozen plant varieties. A sample of some twenty or so leaves for each variety has been collected in the field.

Ex 1






A zone layout with 1 zone is selected

so that each scan shows only one plant variety.

This will make the operation easier.

A *1 zone* layout has been created


Ex 2



A zone layout with 4 zones is selected so that.

each scan contains 4 varieties or, conversely, so that a single variety may be spread out over 4 scans. This feature ensures that a

a failed scan does not lead to the loss of all measurements for a variety.


A layout of *4 zones*

(squared, 2 by 2)

has been created.

## [j0305493](#_SOMMAIRE)5.5 – List of Colors

This window enables you to consult the color classification schemes, which are used as a repository in the AIM application.



5.5.1 – Consultation

As with the other application windows, a search bar enables you to filter the information to be displayed.



Choose the color classification scheme: UPOV, RHS or GEVES...

Specify a language: French, English, German or Spanish…

You can also filter the colors referenced in AIM by Label or by Code. The “Coloring” checkbox enables you to color the displayed rows.

***Note***: Certain languages are not available for some color classes.

5.5.2 – Color Functions

This option enables you to activate the  button in the following windows: “Integration”, “Calculation” and “Results”. (§ 9.3, 9.4 and 9.5)




Active Inactive

In AIM windows, when you click on the button, a sub-menu appears.



5.5.3 – Coloring the rows (RGB, HSL)

This feature enables you to color the rows in the results tables described by their plans, for a better visual appreciation of the colors.




This is often achieved using


the RGB color model, but also by using Hue, Saturation and Luminosity, or directly by using a number from the AIM color group.

Indicate the color reference.

In order to ensure correspondence between the columns in your results and reference plans, double-click or use the  arrows.



5.5.4 – Color Group Labels


This feature enables you to name the colors of the rows of the results tables defined by group numbers, for a better understanding of the measurements. It also allows you to color rows. (§ 5.5.3.).

You simply need to: indicate the column containing the number of the color group;

select the language in which you wish the label to appear.

Feature enabling you to concatenate the label and its color code.


Feature enabling you to color the rows.. (§ 5.5.3.).



***Reminder***: Not all languages are available with regard to color classes.

## [j0305493](#_SOMMAIRE)5.6 – Species – Individual - Company (Non GEVES)

This window enables you to manage the species, individuals and companies used in the AIM application. By default, this window is hidden from GEVES users, who benefit from centralized management of species, individuals and companies.



5.6.1 – Consultation

The three tables are split into three tabs.

5.6.2 – Create / Modify

In order to add a new entry, place the cursor on the last row and type in the entry field. The codes used should be unique and the labels should be non-zero.


***Note***: for individuals, the ACTIVE ( Y = yes , N = no) column enables the individual to be masked or displayed in the input windows. The same applies for companies.

5.6.3 – Delete

To delete an entry, select it and click on the  button.

***Note*** : If an individual or company is no longer valid, it is preferable to deactivate it rather than deleting it.

# [j0305493](#_SOMMAIRE)6 – “Processing Software” Menu



## 6.1 – Open

“Open” enables you to launch the image-processing software.

## 6.2 – Application path

“Application path” enables you to consult the executable file path (in grey) as defined on your computer.

## 6.3 – Define

“Define” enables you to select the executable item (path and name of third party software).

## 6.4 – Default

“Default” enables you to select the executable file path by default, as defined by the IT service of your company. It is stipulated in table STD\_IDENTIFIANT.

## 6.5 – Download

“Download” enables you to open the “ImageJ” software website directly on the downloads page. <http://rsbweb.nih.gov/ij/download.html>

## 6.6 – Online support

“Online support” enables you to open the “ImageJ” software website on the homepage. <http://rsb.info.nih.gov/ij/index.html>

“Online support for macros”: <http://rsb.info.nih.gov/ij/developer/macro/functions.html>

## [j0305493](#_SOMMAIRE)6.7 – Close automatically


“Close automatically” is an option for automatic closure of the image-processing software when it is opened in the “Analysis” and “Quick Processing” windows.

# 7 – “Quick processing” Menu [j0305493](#_SOMMAIRE)



## 7.1 – Quick processing

As its name suggests, this window enables you to process a series of images quickly. The study declaration and integration of results stages are bypassed (although they can still be accessed if necessary).



You can also open this window with the button  from the window MAIN.


7.1.1 – How to use this feature

When the window opens, AIM automatically launches a study. All you need to do is to:

upload the images;

select a macro;

launch the analysis.



7.1.2 – Study

Every time the window is opened, a new study is automatically created under the heading “Undefined” with the name “Quick processing” (which you can modify). This enables you to save all the processing operations performed through the AIM application.




7.1.3 – Images

To upload the list of images, use the  button. An options window will allow you to upload all the images contained in a directory.

You can also upload images by selecting them directly. To modify the  button option users must move from */Directory* to *File*, then use the  button.

In order to remove one or more images from the list, you must select it/them and then click on the button.

The  button enables you to select the complete list of images (select/unselect).

A pop-up menu is available for this list of images. Right-click to call up the pop-up menu.

***Open*** : enables you to open the first image selected

***Move up/Move down***: enables you to change the order of the images in the list

***Save as***: enables you to choose a directory in which to save the selected images.

***Upload [Dir]***: see above

***Add [File]***: see above

***Remove***: see above


7.1.4 – Macros

The list of macros is loaded automatically; you can filter it with the aid of input fields: Name, Description, Contact and Establishment.



***Reminder***: Use the “**%**” symbol to search the names which *start with* or *contain* the text entered.

***Example***: to only see macros that contain the word “process” in their name, type “ %process%” and refresh the list (exit the field). 




When you select a macro, the text appears in the “visualization” field.

It is possible to make temporary modifications.

These changes are saved until the list is refreshed, even if you change the macro.


7.1.5 – Analysis

When you have selected the images and the macro, you need to launch the analysis by clicking on the  button.

A stand-by window appears while the images are being processed by third party software.

If processing is not completed, you must inform AIM that it is to be cancelled, using the  button.

The AIM application detects when processing is completed and automatically brings up the images and results files (provided in the “Macro management” window). The new images will be uploaded to the list and the processing history updated. You can view the results files, using the  button.



The “Integration” window opens and you will be connected back to AIM in its normal functioning mode AIM (§ 9.3).


# [j0305493](#_SOMMAIRE)8 – “Macro” Menu



## 8.1 – Management of “Macros”

In the AIM application, images are processed with the aid of external software (third party): for example, Image-J (selected by GEVES for its community and freeware character).

AIM runs Image-J with the help of **macros** that can be managed from this window.



***Reminder***: A macro is a scripting language which enables you to automatize a sequence of actions. Macros are saved under the file format TXT (text). The Image-J software has a save function to record actions performed (“record”), which renders the process of writing macros more simple.


[j0305493](#_SOMMAIRE)8.1.1 – Consulting a macro

When selecting a macro (in the main table), you can consult the list of macros containing that macro (in the details table). The macro text (in RTF) will be shown in the right hand part of the window (but cannot be modified here).


Using the  button, you can open the macro in a text file (the default program in this case is “Bloc-Notes”), without RTF formatting.


8.1.2 – Create / Modify a macro

To open the window to create a new macro, use the shortcut key [F10] or click on the  button.



Likewise, to modify a macro, select a row and use the shortcut key [F11], or click on the  button, or double-click on the row.



In addition to the macro text, you can enter a variety of information relating to the macro (description):

* Name
* Description
* Validity
* The person (responsible for the macro)
* Their e-mail address
* Their telephone number
* Their company name
* And a mini macro user guide (explaining its aim, general function, displaying the images expected on entry and those produced on exit, explanations of certain variables, …)


***Comment***: it is important to be precise concerning labels, as this will make searching easier and improve the readability and sorting of macros.

In the first tab, labeled “MACRO”, the macro is divided in 3 parts:




the HEADER

It is necessary to obtain the fixed values and parameters for the various commands used from your macros. This information must be entered into the variables, in order to clarify their use for users unfamiliar with the set-up, and to facilitate the temporary modification of macros while they are running.



the BODY

Enter the macro process into this part, taking care to use the variables in the HEADER and the AUTOMATIC HEADER. This part enables you to format the text into RTF, in order to increase the readability of the macro (e.g.: add colors to the comments).



the OUTPUT

To finish, you need to enter data into the “OUTPUT” part, which defines the elements that need to be recorded to end the processing operation (images, files, output files).

There are three elements available:

*Result file*:

enables you to save all files (measurements and others) generated by the macro and the image-processing software in the following table: AIM16\_FIC\_RESULT\_TRAITEMENT. The files will appear in the “Integrate” window and will be available for integration into the database.

*Image*:

enables you to save all images (segmented, superimposed/layered, etc…) in the table AIM13\_IMAGE. The images will be available for new processing operations in the “Analysis” window.

*File*:

enables you to save all files (traceability, additional information) in the table AIM25\_FIC\_DIVERS\_DESC). The files will be available for new processing operations in the “Analysis” window.

You can change the order of the “outputs”  and delete them .


***Example***: for a macro that generates a number of results files in Excel format and binary (black and white) images, with names ending in “ \_NB ”, the output section should be set up as follows :



Then click on the  button to save the macro and click on the  button to close the window.

8.1.3 – Deletion

To delete a macro, select it and click on the  button, or use the shortcut key [F12], and confirm the deletion.



8.1.4 – Import / Export

You can import or export macros into and out of the AIM application, for example, to facilitate the exchange of macros between users in different organizations and companies.

Each macro has a corresponding file (a Word file (\*.doc)).

Exporting macros

Select the macros, click on the  button and indicate the destination directory.


Importing macros


Click on the  button and select one or more “Macro” files (Word files).

***Caution***: if other Word documents are open, they will be closed automatically.


***Example***: to work out the expected AIM format for importing macros, use the example file, by pressing the button.

Below are 2 example files: one empty and the other one already filled out.






# [j0305493](#_SOMMAIRE)9 “Study” Menu



## 9.1 – Study declaration

Before processing images, you need to define the operating environment.

This window enables you to create and manage the declarative aspect of studies , which includes information such as the name of the study, experimental conditions, study materials (varieties), the number of replications, usable macros, acquisitions, zone layout (varieties) on the images of the acquisitions, etc.



9.1.1 – Consultation

Using the “Search criteria” bar, the list of studies can be filtered by study type, name of study and by species (code and label).



When selecting a study (in the main table) it is possible to consult:


- the list of materials (in the details table, in the “Materials” tab).

- the list of acquisitions (in the details table, in the “Acquisition” tab).


- the list of macros (in the details table, in the “Macro” tab).

9.1.2 – Create/ Modify

To open the window to create a new study, use the shortcut key [F10] or click on the  button.



Similarly, to modify a study, select a row and use the shortcut key [F11], or click on the  button.



Indicate the **study type**, its **name**, species, establishment and person requesting the study, the receipt and return dates and the number of replications for the objects/materials/varieties to be used in the study. It is necessary to define **the layout** (number of zones), as well as the number of cells per row and per column (if you know the indexing of your image series) and the list of theoretical conditions. A description field enables you to save comments and enter additional information.

The use of bold and underlined text is a reminder of the important fields that must be indicated.


9.1.3 – Deletion

To delete a study, select it and click on the  button, or use the shortcut key [F12], then confirm the deletion.

***Caution***: Studies selected for deletion should not have any images or processing operations attached to the acquisitions.


9.1.4 – Materials

This list enables you to declare the material to be studied. The word “material” covers varieties, batches of seeds, or any other object to be studied (species, individuals, galaxies).



Click on the  button to create new rows. You have default access to the label, which is accompanied by a number incremented (which is the highest object number), as well as the type of material used.


Double click on the row or on the  button to modify the material.



Click on the  button to delete the material.

You can manage the order of the materials you declare in the study using the  buttons to move material up or down. The  button reshuffles the order according to the filter in place. The order is important when automatically creating acquisitions, loading images automatically, etc.

You can import data from an Excel file (using the button), while respecting the column order on the first page:



To see an example file, click on the  button.

The  button will automatically generate acquisitions in accordance with the material selected (the order) and the number of replications declared in the study record.

***Example***: There are three varieties and two replications. Six acquisitions are to be created. The following options are available for the creation order:

Either by replication Or by material

**Variety\_1** – replication \_1

**Variety\_1** - replication \_2

**Variety\_2** - replication \_1

**Variety\_2** - replication \_2

**Variety\_3** - replication \_1

**Variety\_3** - replication \_2

Variety\_1 – **replication\_1**

Variety\_2 - **replication \_1**

Variety\_3 - **replication \_1**

Variety\_1 - **replication \_2**


Variety\_2 - **replication\_2**

Variety\_3 - **replication \_2**


9.1.5 – Acquisition

“Acquisitions” are the “directories” of the study. This concept is important, as each acquisition will contain images, measurement files, processing history and study results.

Various data need to be entered for each acquisition, such as the layout and description of materials (their arrangement in the image series), the conditions in which the images were acquired, the image source, the date they were acquired and a target directory for automatic image retrieval (optional - § 9.2.2.b).



To add, modify or delete, use the  buttons. To modify more than one acquisition, use the button. You can also manage the order of acquisitions with the buttons.



Enter the name, date and medium used to acquire the images, as well as the directory in which they are saved because, when first launched, AIM will load the images automatically.


The list of conditions is (by default) the same as that of the study, but you can modify it by entering values and comments directly into the table. Add and remove rows using the  buttons. The checkbox (last column) enables you to enter the conditions in the "calculations" window and is designed to describe as accurately as possible the image or images relating to this acquisition.

The list of materials works the same way. The aim is to describe as accurately as possible the image or images (and their zones) relating to the acquisition, so that your results can be directly linked to the materials (objects, varieties, ...). This list makes such a match possible.

For each row, fill in the zone and replication, as well as the set up period, if you have time differences between seed lots (for example).

9.1.6 – Macro

The list of macros is used to define those macros that will (or that can) be used in the study.



Add or remove macros using the buttons.


You can also modify their position (order) using the  buttons to move up or down and update the order (according to the filter applied) using the  button.

The  button enables you to view the user guide for the selected macro.

## [j0305493](#_SOMMAIRE)9.2 – Analysis

This window enables you to manage images, files and **perform analyses of** the study.

You will find the main tables here: "**Study**" and "**Acquisitions**" (at the top), and then in the details tables (in four tabs), tabs for "**macros**", "**images**", the "**files**" and the management of "**analyses**"(this tab only appears during analysis).



9.2.1 – How to use this feature


Select the study to display the list of acquisitions and macros.

Select one or more acquisitions to display images and files.

Finally, select the macros, images (and files) to launch the analysis.

9.2.2 – Macros

**You need to tick the macros you want to run during the next image-processing operation.**




The list of macros is displayed when a study is selected.

Whenever you select a study, the macros list is updated (macros are in their **initial** form).

When you select a macro, its rich text content (RTF) is displayed on the right side. You can modify it (temporarily) to suit the needs of upcoming processing operations. For example, if the macro has a header section, it is easy to adapt some of the values​ without permanently changing the macro in the database (of the application’s macros).

Any changes are stored temporarily, even if you modify the macro. Until you refresh the display list : by selecting a study, or by switching windows, for example.

The purpose of the "macros" tab is to inform AIM of the processing operations you have selected and their running order.




Inactive

Active

First Second

9.2.3 – Images

**You must select the images to be processed during the next processing operation.**



The list of images is displayed (updated) when you select one or more acquisitions.


The images are saved by acquisition, meaning that the link to the declarative section in the previous window can be maintained.

***Caution***: when uploading images take care to select the correct acquisitions.

#### 9.2.3.a – How to use this feature

The “images” tab contains the list of images, a search bar and various action buttons and displays the images in the right hand section.

*  Add images, using Windows selection feature.
*  Delete selected rows.
*  Modify image type.
*  Change the order of the images in the list.
*  Update the order in line with the current filter in place (name…)
*  Open the image with your default software (e.g.: Picasa).
*  Save the selected images to disk.
*  Delete search criteria.
*  Display (redisplay) the image list.
*  Select (unselect) all images.

You can filter the list of images displayed by using “Search criteria” “select type of image”.

This filter is very effective when using different types of images:


- color - black & white – superimposed- …

#### 9.2.3.b – Loading images


You have four options for loading images into acquisitions (directories).

* Select the acquisition, then in the “Images” tab click on the “Add” button, search for the images on your computer and confirm your selection.
* Select the acquisition, place cursor on the “Images” tab, from your desktop (*Windows*) select the images and drag and drop them onto the AIM list.
* Select one or more acquisitions  and click on the  button. This method works if you have defined the loading directories in the “Declaration” window (§ 9.1.5.). AIM will load all the images it finds, by acquisition, even if the image had been previously uploaded.
* Click on  and indicate the directory containing all your images. A list will appear with the titles of the images, the order of which can be changed if necessary . You can select another directory  and remove specific images .

***Comment*** : The fourth option is available when loading **all** your acquisitions. The order of your acquisitions in this list is important (sorted by date, name, etc….., or defined in the previous window (§ 9.1.5.)).



Images will be loaded by matching the left and right-hand lists (acquisitions and images).

In the example below, each acquisition will contain two images.


You modify the “*Match”* field as follows: . To load, use the button.

If you want to delete/hide this part of the “*Load a directory*” window, click on.

***Comment*** : by default, the images added to acquisitions are “undefined” types. We recommended that you specify the image type for better image management.

9.2.4 – Files

**You must select the files to be processed during the next processing operation.**



This tab allows you to manage files and images (see §9.2.2) and is equipped with an additional function:


* enables you to create a file automatically:

AIM\_Parametres.Ini, which retraces information about the study and the acquisition.

9.2.5 – Analyses

**You must click on  to start the next processing operation.**

(having previously selected the macros, images and files)



This tab enables you to monitor processing operations, to relaunch or halt a processing operation in case of macro, user, image-processing software or AIM errors.

 Relaunch the same processing operation.

 Force the end of processing operation and retrieve the output files.

 Force the end of processing operation and cancel the retrieval of the files.

AIM will indicate when a processing operation is ongoing by means of a flashing message.




***Caution***: the names of the images sent for processing by macro are slightly modified by AIM. AIM concatenates the image code, enabling the software package to know under which acquisition they need to be registered upon their return.

## [j0305493](#_SOMMAIRE)9.3 – Integration


This window enables you to consult and delete processing operations relating to the acquisitions (with or without the results files).

It is possible to integrate these measurements into the database by choosing the result variables that are to be saved.



There are two main tables: **studies** and **acquisitions. The** details table contains the list of processing operations (history), results files and results.

9.3.1 – Processing history and results files



Each time an analysis is launched, AIM records the date of execution. Linked to each date you have either: one or more result files

“no files” if the macro does not generate any

“processing canceled” if the analysis was halted manually.

You can delete this history using the button. Be careful, as each deletion involves the cascade deletion of the attached results files, as well as the measurements in the database, calculations and clustered items.

You can delete results files using the  button (this does not involve cascade deletion of basic measurements, calculations and clustered items).

You can view the macro used for the processing operation: .

You can view the results file, in the format in which it was saved .

You can import your results file manually should there be any modifications or corrections.

You can manage types of results files ( § 5.1.3.) ,

as well as the number of days for which they are saved .


When you select one or more processing histories, AIM informs you of the number of result variables and measurements already integrated into the database.




9.3.2 – Display

You must select a processing row that contains one or more result files. Select file/files, place the cursor on the tab “File” and click on the  button.

The format of the result file, which comes from the image-processing software (ImageJ) should be a “Text” file (the extension is not important, e.g. txt, xls) with the first row showing the column headings and separated by a tab. See the example below.




Once integration into AIM is complete, you will see:



9.3.3 – Options

One stage prior to integration (into the database) is the **indexing** of measurements.

This is done automatically with each display of results files ("File" tab) and takes into account the selected options ("Options" tab).




Indexing enables AIM to handle each of the different measurements in the results files on an individual basis, enabling them to be registered in the database.

When images contain more than one object, it is necessary to be able to distinguish between them. AIM attributes the following values: Row/Column/Zone to each measurement.



By default, all images are subjected to “incremental” indexing as a part of which objects are numbered for 1 to N.

|  |  |
| --- | --- |
| Row | Column |
| 1 | 1 |
| 1 | 2 |
| 1 | 3 |
| 1 | 4 |

Example with four objects:

“**Simple**” indexing is carried out for each image based on the X and Y coordinates of the objects and the elements declared for the acquisition.





|  |  |
| --- | --- |
| Row | Column |
| 1 | 1 |
| 1 | 2 |
| 2 | 1 |
| 2 | 2 |




“**Track**” indexing is carried out on the first image on the basis of the X and Y coordinates and the elements declared (as above). For subsequent images, the calculation of the minimum distance is used.

The aim here is to maintain the same identifiers, namely Row/Column/Zone for the objects, and to track them throughout the whole series of images, even if they have been displaced.

|  |  |
| --- | --- |
| Row | Column |
| 1 | 1 |

Img\_2 Img\_3 Img\_4 Img\_5



“**Manual**” indexing is performed by copying the Row/Column/Zone values from the results file columns.

A window will pop up to ask what these columns are. Select a column, click on  to define it as a row, column or zone. You can also double-click.

The “**De-activated**” indexing option enables you to take no action and simply to display the result file. However, you will not be able to integrate the measurements into the database.



For “ **Simple**” and “**Track**” indexing options, AIM uses the names of columns X and Y for the calculations. If the names of the columns are different in your results file, you can indicate this manually.



You can also relaunch indexing manually, using the button.

***Reminder***: the names of the images sent for processing by macro are modified by AIM. AIM concatenates the image code, making it possible –once measurements are returned- to know under which image and acquisition the measurements should be saved.


***Caution***: When saving measurements, the image code is important because it provides a link with the description of the material made ​​in the study declaration. If AIM cannot make that connection, it will require you to enter a valid image code manually. To do this AIM opens a text file (Lecture.txt) containing the list of valid images and their codes.

9.3.4 – Integrate

In the “File” tab you can integrate the results columns of your choice.


To do this, click on the  button and a window will open to allow you to select result variables for integration.



The result variables have been defined to match the column headings in ImageJ (often in English).

Select one or more rows and confirm by clicking on.


A message window will warn you that the result variables have been saved and will inform you of the number of rows that have been integrated.



## [j0305493](#_SOMMAIRE)9.4 – Calculations

This window enables you to launch pre-defined calculations for variables previously recorded in the form of a spreadsheet within which a formula may be applied.

This method can be used to carry out pixels ⬄ millimeters conversions, for example.




**Comment**: Most of the work is done at the level of the declaration of formulas. (see § 5.4.).

9.4.1 – How to use this feature

Display the results of a study, acquisition or processing operation using the button.


Then click on the  button to open the window to select the result variables.




Select one or more rows and confirm your selection using the button.

***Comment***: formulas are based on other result variables, information defined in the study declarative section, or columns in the table;


If one formula is missing or contains an error, the calculation stage will generate an error message.



Otherwise, the data will be calculated and recorded, and the new “results” displayed.



You can relaunch the operation with new formulas, which can be based on the new “results”.



Color indicators are provided to help you.

Highlighted in red: the result variables that have already been calculated

Highlighted in green: the result variables that probably need to be calculated.

By default the list of result variables is limited to those which are of interest to you. However, you can display the whole list using the tick box.


Results can be exported to Excel using the  button.

You can color the rows of the table using the  button.

Automatically hide part of the calculation table columns.

## [j0305493](#_SOMMAIRE)9.5 – Results

This window displays the results of a study (raw, calculated and clustered results). It also makes it possible to cluster and delete data from the database.



9.5.1 – Display


Select your study; the full details are displayed in the second part of the window. There are six tabs describing the materials, acquisitions, images, processing operations, result variables and statistical parameters which are part of the study.

Everything is pre-selected by default when you open the window, or switch to another study. You have the choice of de-selecting or selecting one row or another from one tab or another in order to refine what is displayed or deleted.

***Caution***: When you use the Next and Previous buttons to switch windows, AIM pre-selects the same study and the same acquisitions.

Other available filters include:



- Results type (see § 9.5.2)

- The tick box “**In column**” governs the layout of the result variables.

Select the elements you wish to display, then click on the  button.

9.5.2 – Type of result

**Cell – Image [Aim14]**: raw and calculated results defining the cells, zones, images and acquisitions in your study.

The following types are all results obtained from clustering operations (A19, A21, A20 and A22).

**Cell– Acquisition [Aim19]**: defining cells, zones and acquisitions. In this case, the image feature has been removed (image series).


**Zone – Image [Aim21]**: defining zones, images and acquisitions. In this case, the cell feature has been removed.

**Zone – Acquisition [Aim20]**: defining zones and acquisitions. In this case the cell and image features have been removed.

**Object [Aim22]**: defining objects. In this case everything has been removed and only objects are clustered.


9.5.3 –Clustering

Select your study and click on the  button.



A window will open and you will be able to select the material(s), acquisitions, images and processing operations covered by the clustering function, as well as the type/types of statistical parameters and clusters desired. Then confirm using the  button.

***Example\_1***: For an overview of this clustering step, we will look at the example of a study involving four varieties. I have measured a "Volume" for a series of images using image-processing software ("**Analysis"** window).




I integrated these results into the database, giving a total of over 7,000 measurements, as I have several cells (seeds) per image and have around 50 or so images.

I have calculated a “Time” based on the frequency of images in my series.


I wish to cluster my results by variety and by time.

I select my study (in the “**Result**” window) and click on the  button.

This action opens the statistical parameters window. I only select the "Volume" and "Time" result variables in the "**Var\_Result"** tab.



Then, in the "**Param\_Stat**" tab I choose to calculate an "**average**".

****


I then select the type of clustering required:by **zones and images**.

That means I want to remove the cell feature (in order to have only a single volume measurement per variety and time). I confirm by clicking on the  button.

I call up a display by selecting "Image-Zone"



I then locate the clustered averages for volume and time, with a measurement per variety and per image.





***Example\_2***: We wish to measure the surface of leaves.

We have two varieties (v1 and v2) and our study contains two replications (r1, r2). We have three plants per variety/replication (p1, p2, p3), and we use two leaves per plant (f1, f2).



In our images we arrange the leaves in two zones, so that each image contains two varieties.

Transposing these elements into AIM; the varieties are the zones, the replications are the acquisitions, the plants are the images and the leaves are the cells.

AIM14 **Raw**, unclustered data



 

AIM19 Data clustered by **Leaf**





AIM21 Data clustered by **Plant**





AIM20 Data clustered by **Replication**



AIM22  Data clustered by **Variety**

9.5.4 – Deletion

The deletion step is similar to the display step, as you need to select the study, the detail (image, material, etc.) and the results type before clicking on  and confirming your selection.

***Caution***: the process does not involve cascade deletion. If you delete the [Aim14] results, this action will not delete clustered data in [Aim22].


You have to perform the operation for each result type.

***Comment***: However, relaunching the clustering function automatically enables you to delete previous clusters in the destination table.

9.5.5 – Graph

This is a feature that enables you to view AIM application data.


To do that, you need to display and select (all or part of) the results (see § 9.5.1) (particular attention should be paid to the selection order) and then click on the  button.




A selection window opens, with a list of usable column labels on the left side of the window ("Column” table).

You must select the series (one or more columns) (“Series” table), the x- value (column) ("X-axis" table) and the y-axis value (one column) ("Y-axis" table).

Use the  and  buttons to move the “column” labels.



Confirm your choice using the button.



By default, the application:

- recalculates the axes boundaries as accurately as possible;

- concatenates the labels of the various series (columnA – columnB – columnC);



- indicates the name of the study in the title;

- places the key to the right of the graph;


- retrieves the labels of the x- and y-axes as they are.

You can change certain features of this graph using the following options:


On the right-hand side of the window, the  button is used to open and close the options panel. Right click on the graph to open the contextual menu.

This enables you to change the axis labels and boundaries, move the key, save the graph or print it.



# [j0305493](#_SOMMAIRE)10 – “Windows” Menu



## 10.1 – How to use this feature

This feature enables you to manage Aim windows with a single click.

1. ***Tile***

Shows all open windows arranged symmetrically.

1. ***Cascade***

Cascades all open windows.

1. ***Iconize All***

Reduces all windows to icons.

1. ***Restore All***

Enlarges all windows.

1. ***Align icons***

Aligns the icons of reduced windows.

1. ***Close all***


Closes all your windows.

After the separate line, AIM listed open windows.

To switch from one to another with a simple click.



# [j0305493](#_SOMMAIRE)11 – “Help” Menu



## 11.1 – How to use this feature

The “***Help***” menu enables you to find information on the AIM application.

You have access to the “ ***User manual*** ”, “ ***Help with automatic functions*** ”, “ ***Did you know ?*** ”, “ ***Data Dictionary*** ”, “ ***Data model*** ”, “ ***Request*** ”, “ ***Software issues, Suggestions,…*** ” and “***About …*** ” to obtain a response to your questions and problems.

“***User manual***” The AIM user guide, in .Pdf format.

“***Help with automatic functions***” ……

“***Did you know?***”

“***Data dictionary***” description of **AIM** tables, in .Htm. format or for **Other…** applications.

“***Data model***” the graphic representation of **AIM** tables, in .Pdf format,

or for **Other…** applications.

“Q***uery***” SQL text based on the tables in the application.

“***Dysfunction, Suggestion,…***” automatically opens the SOS application and a new record.

“***About …***” range of information on AIM, including the version number and the email address for IT support.



# [j0305493](#_SOMMAIRE)12 – Frequently-asked questions



Question

My list of macros is empty (incomplete) in the Analysis window, even though the macros have been declared properly at the study level (study declaration window).



Answer

Only ‘active’ macros are visible in the Analysis window. Return to the Macro- Management window and validate the macros that you want to see and use in your study. (§ 6.1.2.) 

============ END OF DOCUMENT ========