|  |  | F TC/49/22 ORIGINAL : anglais DATE : 18 février 2013 |
| --- | --- | --- |
| UNION INTERNATIONALE POUR LA PROTECTION DES OBTENTIONS VÉGÉTALES |  |  |
| Genève |  |  |

ComitÉ technique

Quarante-neuvième session
Genève, 18 – 20 mars 2013

RÉvision du document TGP/8 : premiÈre partie :
Protocole d’essai DHS et analyse des donnÉes
Nouvelle section : RÉduction optimale de la variation
due À diffÉrents observateurs

Document établi par le Bureau de l’Union

1	L’objet du présent document est de présenter le projet d’une nouvelle section pour le document TGP/8 : Première partie : Protocole d’essai DHS et analyse des données, qui serait intitulée : “Réduction optimale de la variation due à différents observateurs”.

2	Les abréviations ci-après sont utilisées dans le présent document :

CAJ : 		Comité administratif et juridique

TC : 		Comité technique

TC-EDC : 	Comité de rédaction élargi

TWA : 	Groupe de travail technique sur les plantes agricoles

TWC : 	Groupe de travail technique sur les systèmes d’automatisation et les programmes d’ordinateurs

TWF : 	Groupe de travail technique sur les plantes fruitières

TWO : 	Groupe de travail technique sur les plantes ornementales et les arbres forestiers

TWV : 	Groupe de travail technique sur les plantes potagères

TWP : 	Groupes de travail techniques

3	La structure du présent document est la suivante :

informations gÉnÉrales	1

observations des groupes de travail techniques (TWP) en 2012	2

observations du comitÉ de rÉdaction Élargi (TC-EDC) en 2013	2

ANNEX : 	PROPOSED TEXT TO BE INCLUDED IN TGP/8 PART I : DUS TRIAL AND DESIGN AND DATA ANALYSIS, NEW SECTION : MINIMIZING THE VARIATION DUE TO DIFFERENT OBSERVERS (SEULEMENT EN ANGLAIS)

# informations gÉnÉrales

4	À sa quarante-huitième session, tenue à Genève du 26 au 28 mars 2012, le Comité technique (TC) s’est penché sur la révision du document TGP/8 “Protocole d’essai et techniques utilisés dans l’examen de la distinction, de l’homogénéité et de la stabilité” sur la base du document TC/48/19 Rev.

5	À sa quarante-huitième session, le TC est convenu de demander au rédacteur qu’il élabore un nouveau projet de la section “Réduction optimale de la variation due à différents observateurs”, sur la base des observations faites par les TWP en 2011, telles qu’elles figurent à l’annexe II du document TC/48/19 Rev. (voir le paragraphe 51 du document TC/48/22 “Compte rendu des conclusions”).

6	Le TC a noté que de nouvelles versions des sections pertinentes devraient être préparées pour le 26 avril 2012 au plus tard de telle sorte que ces sections puissent être incorporées dans le projet à examiner par les TWP à leurs sessions en 2012 (voir le paragraphe 49 du document TC/48/22 “Compte rendu des conclusions”).

# observations des groupes de travail techniques (TWP) en 2012

7	À leurs sessions en 2012, les TWA, TWV, TWC, TWF et TWO ont examiné les documents TWA/41/24, TWV/46/24, TWC/30/24, TWF/43/24 et TWO/45/24, respectivement, qui contenaient le texte proposé d’une nouvelle section du document TGP/8 Première partie : Protocole d’essai DHS et analyse des données, nouvelle section : “Réduction optimale de la variation due à différents observateurs” élaborée par M. Gerie van der Heijden (Pays-Bas), comme indiqué dans l’annexe du présent document (seulement en anglais ), et fait les observations suivantes :

| Observations de caractère général | Le TWV a examiné le document TWV/46/24 et souligné l’importance de l’étalonnage de l’observateur (voir le paragraphe 35 du document TWV/46/41 “Report”). | TWV |
| --- | --- | --- |
|  | Le TWC a examiné le document TWC/30/24 et recommandé qu’il soit transmis au TC pour examen en vue de son incorporation dans le document TGP/8 après modification de la dernière phrase de la section 6.1 qui se lirait “for systematic differences” (voir le paragraphe 23 du document TWC/30/41 “Report”). | TWC |

# observations du comitÉ de rÉdaction Élargi (TC-EDC) en 2013

8	À sa réunion tenue à Genève les 9 et 10 janvier 2013, le TC-EDC a examiné le document TC-EDC/Jan 13/9 : “Révision du document TGP/8 : Première partie : Protocole d’essai DHS et analyse des données, Nouvelle section : Réduction optimale de la variation due à différents observateurs, tel qu’il figure dans l’annexe du présent document, et fait les observations suivantes :

| Observation de caractère général | Le document devrait également couvrir les caractères PQ (comme par exemple la couleur et la forme) |
| --- | --- |
| Titre | libeller : REVISION OF DOCUMENT TGP/8 PART I : DUS TRIAL DESIGN OF AND DATA ANALYSIS, NEW SECTION : MINIMIZING THE VARIATION DUE TO DIFFERENT OBSERVERS |
| Annexe, paragraphe 1 | Référence devrait être faite non seulement aux QN/MS mais aussi aux QN/MG |
| Annexe, paragraphe 1.1 | Libeller "…. Par conséquent, lorsque l’observateur A mesure évalue la variété 1 et l’observateur B la variété 2, la différence observée mesurée peut s’expliquer par des différences entre observateurs A et B au lieu de différences entre variétés 1 et 2. Il ne fait aucun doute que nous nous intéressons principalement aux différences entre variétés et non aux différences entre observateurs. …." |
| Annexe, paragraphes 2.1 et 2.2 | Corriger la numérotation |
| 2.1 | La dernière phrase devrait être supprimée |
| 3.1 | Libeller "Après la formation d’un observateur, l’étape suivante consiste à vérifier les acquisitions des observateurs dans le cadre d’un essai d’étalonnage. C’est particulièrement utile pour les observateurs inexpérimentés qui doivent procéder à des observations visuelles (caractères QN/VG et QN/VS). S’ils se livrent à des observations visuelles VG, ils devraient de préférence faire un essai d’étalonnage avant de formuler des observations durant l’essai. Mais il est aussi important que les observateurs expérimentés vérifient eux-mêmes leurs connaissances régulièrement pour s’assurer qu’ils satisfont toujours aux critères d’étalonnage". |
| 3.3 | Supprimer |
| 4. | Libeller "Essai d’étalonnage pour les caractères QN/MG ou QN/MS” |
| 4.1 | Ajouter une ligne en blanc après le paragraphe |

9	Le TC est invité à demander l’élaboration d’un nouveau projet de section intitulé “Réduction optimale de la variation due à différents observateurs” pour examen par les TWP à leurs sessions en 2013, sur la base des observations des TWP et du TC-EDC.

[L’annexe suit]

PROPOSED TEXT TO BE INCLUDED IN TGP/8 PART I: DUS TRIAL AND DESIGN AND DATA ANALYSIS, 
NEW SECTION: MINIMIZING THE VARIATION DUE TO DIFFERENT OBSERVERS

1. 	Introduction

This document has been prepared with QN/MS, QN/VG and QN/VS characteristics in mind. It does not explicitly deal with PQ characteristics like color and shape. The described Kappa method in itself is largely applicable for these characteristics, e.g. the standard Kappa characteristic is developed for nominal data. However, the method has not been used on PQ characteristics to our knowledge and PQ characteristics may also require extra information on calibration. As an example, for color calibration, you also have to take into account the RHS Colour chart, the lighting conditions and so on. These aspects are not (yet) covered in this document.

1.1	Variation in measurements or observations can be caused by many different factors, like the type of crop, type of characteristic, year, location, trial design and management, method and observer. Especially for visually assessed characteristics (QN/VG or QN/VS) differences between observers can be the reason for large variation and potential bias in the observations. An observer might be less well trained, or have a different interpretation of the characteristic. So, if observer A measures variety 1 and observer B variety 2, the difference measured might be caused by differences between observers A and B instead of differences between varieties 1 and 2. Clearly, our main interest lies with the differences between varieties and not with the differences between the observers. It is important to realize that the variation caused by different observers cannot be eliminated, but there are ways to control it.

2. 	Training

2.2	Training of new observers is essential for consistency and continuity of plant variety observations. Calibration manuals, supervision and guidance by experienced observers as well as the use of example varieties illustrating the range of expressions are useful ways to achieve this.

2.1	UPOV test guidelines try to harmonize the variety description process and describe as clearly as possible the characteristics of a crop and the states of expression. This is the first step in controlling variation and bias. However, the way that a characteristic is observed or measured may vary per location or testing authority. Calibration manuals made by the local testing authority are very useful for the local implementation of the UPOV test guideline. Where needed these crop-specific manuals explain the characteristics to be observed in more detail, and specify when and how they should be observed. Furthermore they may contain pictures and drawings for each characteristic, often for every state of expression of a characteristic. The calibration manual can be used by inexperienced observers but are also useful for more experienced or substitute observers, as a way to recalibrate themselves.

3.	Testing the calibration

3.1	After training an observer, the next step could be to test the performance of the observers in a calibration experiment. This is especially useful for inexperienced observers who have to make visual observations (QN/VG characteristics). If making VG observations, they should preferably pass a calibration test prior to making observations in the trial. But also for experienced observers, it is useful to test themselves on a regular basis to verify if they still fulfill the calibration criteria.

3.2	A calibration experiment can be set up and analyzed in different ways. Generally it involves multiple observers, measuring the same set of material and assessing differences between the observers.

3.3	In general, inexperienced observers are less likely to be entrusted to make VG observations but might be entrusted to make MG and MS observations.

4	Testing the calibration for QN/MS characteristics

4.1	For observations made by measurement tools, like rulers (often QN/MS characteristics), the measurement is often made on an interval or ratio scale. In this case, the approach of Bland and Altman (1986) can be used. This approach starts with a plot of the scores for a pair of observers in a scatter plot, and compare it with the line of equality (where y=x). This helps the eye gauging the degree of agreement between measurements of the same object. In a next step, the difference per object is taken and a plot is constructed with on the y-axis the difference between the observers and on the x-axis either the index of the object, or the mean value of the object. By further drawing the horizontal lines y=0, y=mean (difference) and the two lines y = mean(difference) ± 2 x standard deviation, the bias between the observers and any outliers can easily be spotted. Similarly we can also study the difference between the measurement of each observer and the average measurement over all observers. Test methods like the paired t-test can be applied to test for a significant deviation of the observer from another observer or from the mean of the other observers.

4.2	By taking two measurements by each observer of every object, we can look at the differences between these two measurements. If these differences are large in comparison to those for other observers, this observer might have a low repeatability. By counting for each observer the number of moderate and large outliers (e.g. larger than 2 times and 3 times the standard deviation respectively) we can construct a table of observer versus number of outliers, which can be used to decide if the observer fulfills quality assurance limits.

4.3	Other quality checks can be based on the repeatability and reproducibility tests for standard measurement methods as described in ISO 5725-2. Free software is available on the ISTA website to obtain values and graphs for seed laboratory tests according to this ISO standard.

4.4	In many cases of QN/MS, a good and clear instruction usually suffices and variation or bias in measurements between observers is often negligible. If there is reason for doubt, a calibration experiment as described above can help in providing insight in the situation.

5.	Testing the calibration for QN/VS or QN/VG characteristics

5.1	For the analysis of ordinal data (QN/VS or QN/VG characteristics), the construction of contingency tables between each pair of observers for the different scores is instructive. A test for a structural difference (bias) between two observers can be obtained by using the Wilcoxon Matched-Pairs test (often called Wilcoxon Signed-Ranks test).

5.2	To measure the degree of agreement the Cohen’s Kappa (κ) statistic (Cohen, 1960) is often used. The statistic tries to accounts for random agreement:κ = (P(agreement) – P(e)) / (1-P(e)), where P(agreement) is the fraction of objects which are in the same class for both observers (the main diagonal in the contingency table), and P(e) is the probability of random agreement, given the marginals (like in a Chi-square test). If the observers are in complete agreement the Kappa value κ = 1. If there is no agreement among the observers, other than what would be expected by chance (P(e)), then κ = 0.

5.3	The standard Cohen’s Kappa statistic only considers perfect agreement versus non-agreement. If one wants to take the degree of disagreement into account (for example with ordinal characteristics), one can apply a linear or quadratic weighted Kappa (Cohen, 1968). If we want to have a single statistic for all observers simultaneously, a generalized Kappa coefficient can be calculated. Most statistical packages, including SPSS, Genstat and R (package Concord), provide tools to calculate the Kappa statistic.

5.4	As noted, a low κ-value indicates poor agreement and values close to 1 indicate excellent agreement. Often scores between 0.6-0.8 are considered to indicate substantial agreement, and above 0.8 to indicate almost perfect agreement. If needed, z-scores for kappa (assuming an approximately normal distribution) are available. The criteria for experienced DUS experts could be more stringent than for inexperienced staff.

6.	Trial design

6.1	If we have multiple observers in a trial, the best approach is to have one person observe one or more complete replications. In that case, the correction for block effects also accounts for the bias between observers.  If more than one observer per replication is needed, extra attention should be given to calibration and agreement. In some cases, the use of incomplete block designs (like alpha designs) might be helpful, and an observer can be assigned to the sub blocks. In this way we can correct for the systematic differences between observers.

7.	Example of Cohen’s Kappa

7.1	In this example, there are three observers and 30 objects (plots or varieties). The characteristic is observed on a scale of 1 to 6.The raw data and their tabulated scores are given in the following tables.

| Variety | Observer 1 | Observer 2 | Observer 3 |
| --- | --- | --- | --- |
| V1 | 1 | 1 | 1 |
| V2 | 2 | 1 | 2 |
| V3 | 2 | 2 | 2 |
| V4 | 2 | 1 | 2 |
| V5 | 2 | 1 | 2 |
| V6 | 2 | 1 | 2 |
| V7 | 2 | 2 | 2 |
| V8 | 2 | 1 | 2 |
| V9 | 2 | 1 | 2 |
| V10 | 3 | 1 | 3 |
| V11 | 3 | 1 | 3 |
| V12 | 3 | 2 | 2 |
| V13 | 4 | 5 | 4 |
| V14 | 2 | 1 | 1 |
| V15 | 2 | 1 | 2 |
| V16 | 2 | 2 | 3 |
| V17 | 5 | 4 | 5 |
| V18 | 2 | 2 | 3 |
| V19 | 1 | 1 | 1 |
| V20 | 2 | 2 | 2 |
| V21 | 2 | 1 | 2 |
| V22 | 1 | 1 | 1 |
| V23 | 6 | 3 | 6 |
| V24 | 5 | 6 | 6 |
| V25 | 2 | 1 | 2 |
| V26 | 6 | 6 | 6 |
| V27 | 2 | 6 | 2 |
| V28 | 5 | 6 | 5 |
| V29 | 6 | 6 | 5 |
| V30 | 4 | 4 | 4 |

The contingency table for observer 1 and 2 is:

| O1\O2 | 1 | 2 | 3 | 4 | 5 | 6 | Total |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 3 | 0 | 0 | 0 | 0 | 0 | 3 |
| 2 | 10 | 5 | 0 | 1 | 0 | 1 | 17 |
| 3 | 2 | 1 | 0 | 0 | 0 | 0 | 3 |
| 4 | 0 | 0 | 0 | 1 | 0 | 0 | 1 |
| 5 | 0 | 0 | 0 | 1 | 0 | 2 | 3 |
| 6 | 0 | 0 | 1 | 0 | 0 | 2 | 3 |
| Total | 15 | 6 | 1 | 3 | 0 | 5 | 30 |

The Kappa coefficient between observer 1 and 2, κ(O1,O2) is calculated as follows:

- κ(O1,O2) = (P(agreement between O1 and  O2) – P(e)) / (1 – P(e)) where:

- P(agreement) =  (3+5+0+1+0+2)/30 = 11/30 ≈ 0.3667 (diagonal elements)

- P(e) = (3/30).(15/30) + (17/30).(6/30) + (3/30).(1/30) + (1/30).(3/30) + (3/30).(0/30) + (3/30).(5/30) ≈ 0.1867. (pair-wise margins)

- So κ(O1,O2) ≈ (0.3667-0.1867) / (1-0.1867) ≈ 0.22

This is a low value, indicating very poor agreement between these two observers. There is reason for concern and action should be taken to improve the agreement. Similarly the values for the other pairs can be calculated: κ(O1,O3) ≈ 0.72, κ(O2,O3) ≈ 0.22.Observer 1 and 3 are in good agreement. Observer 2 is clearly different from 1 and 3 and probably needs additional training.

- References

Cohen, J..(1960) A coefficient of agreement for nominal scales. Educational and Psychological Measurement 20: 37-46.

Cohen, J. (1968) Weighted kappa: Nominal scale agreement provision for scaled disagreement or partial credit. Psychological Bulletin, 70(4): 213-220.

Bland, J. M. Altman D. G. (1986) Statistical methods for assessing agreement between two methods of clinical measurement, Lancet: 307–310.

http://www.seedtest.org/en/stats-tool-box-_content---1--1143.html (ISO 5725-2 based software)

[Fin de l’annexe et du document]

	 	À sa réunion les 9 et 10 janvier 2013, le TC est convenu qu’il ne serait pas approprié de traduire le texte pour sa quarante-neuvième session.